## Slide 1: A multi-agent FLISR model for inverter-dominated smart grids

## Slide 2: Three Tier Electrical Power System
Wide Area Network
Field Area Network
Home Area Network

## Slide 3: Three Layer Communication System
Wide Area Network
Field Area Network
Home Area Network

## Slide 4: Three Level Microgrid Restoration Procedure
Fault location and isolation
Formation of teams
Service restoration

## Slide 5: Optimization Algorithm

## Slide 6: Microgrid Formation Using Recursive Depth First Search
1. Open all switchable lines and find all
possible islanded bus blocks
2. Generate reduced graph,
find microgrid boundaries and
assign central nodes for each microgrid
3. Use recursive depth first search
to traverse each microgrid and
assign energization ranking
for all bus blocks

## Slide 7: Self Healing Optimization Problem
Active and Reactive Power Balance | 
Active and Reactive Power limits of transmission lines | 
Active and reactive power generation limits of generators | 
Voltage constraints of nodes | 
Bus block switching constraints for preserving radial nature of network | 
Active and Reactive Power Balance | 
Active and Reactive Power limits of transmission lines | 
Active and reactive power generation limits of generators | 
Voltage constraints of nodes | 
Bus block switching constraints for preserving radial nature of network | 

## Slide 8: Self Healing Optimization Problem
PV Inverter/ EV Inverter/ Diesel Generator Ramp Rate | 
Battery power for charge/ discharge | 
Battery SOC limit | 
Transmission Line Losses | 
Dynamic Constraints for voltage, current and frequency | 
PV Inverter/ EV Inverter/ Diesel Generator Ramp Rate | 
Battery power for charge/ discharge | 
Battery SOC limit | 
Transmission Line Losses | 
Dynamic Constraints for voltage, current and frequency | 

## Slide 9: Communication Network

## Slide 10: Three Layer Communication System
Wide Area Network
Field Area Network
Home Area Network

## Slide 11: Control and monitoring system

## Slide 12: Wide Area Network: Wimax Architecture
Two basic modes of operation: Subscriber Station or Base Station.
A scalable and realistic physical layer.
WirelessMAN-OFDM channel model.
A packet classiﬁer for the IP convergence sublayer.
Efﬁcient uplink and downlink schedulers (priority based FCFS, polling service scheduler, migration-based uplink scheduler).
Support for Multicast and Broadcast Service (MBS).
Leverages wireless propagation loss and delay models.
Point-to-Multipoint mode.
IEEE-802.16 Service Flow Initialization.
Management Connection.
UGS, rtPS, nrtPS, and BE connections.

## Slide 13: Field Area Network: PLC Communication
Power line communications are an attractive technology to transport the smart meter aggregated information acquired by home area networks, without the elevated cost and implantation time required by the well-known solutions based on wireless and optical fibers.
PLC network connects DG substations, load centers and circuit breakers

## Slide 14: Home Area Network: Ethernet
The Ethernet connects
Smart meters and PMUs
Diesel generator controller
Load controllers
PV inverter controller
Energy storage controller
Auxiliary Relays and switches

## Slide 15: Multi-agent System for FLISR

## Slide 16: Java Agent Development Environment
Reactivity
Pro-activeness
Social ability

## Slide 17: Multi-agent System

## Slide 18: Fault location and isolation

## Slide 19: Formation of teams

## Slide 20: Control and monitoring

## Slide 21: Power System Simulation