Overview

This report summarizes my experience of the three-month internship in Kohinoor Energy Limited 124MW Power Plant. The work is very tortuous, dangerous, exhausting and stressful. The workers carry out very dangerous activities. They are exposed to high currents, heavy power tools and machinery, biohazards, poisonous chemicals, dark work areas, long and exhausting work shifts etc. The company takes great precautions to make sure that the workers do not face any physical harm.

Power Plant Block Diagram

Electrical System

Common Fuel System

| 1 | Fuel Decanting Shed |  |
| --- | --- | --- |
| 2 | HFO Storage Tanks |  |
| 3 | Transfer Pump Unit |  |
| 4 | Fuel Wash System Unit |  |
| 5 | Buffer Tanks |  |
| 6 | Day Tanks |  |

Booster System

Common Sludge Oil System

Common Engine Cooling System

Common Steam Turbine Cooling System

Common Water Treatment System

Steam Heating System

Starting Air System

DG-SET Lube Oil System

DG-SET Cooling System

DG-SET Exhaust Gas and Charge Air System