Wind Energy Conversion Systems

Assignment 2

Muhammad Shamaas

ID # 2018-MS-EE-4

Introduction

This case study investigates the Induction machine modeling in Complex Vector. The first example analyzes the free acceleration of a singly excited, 6 pole, 3 phase, 220V (line-to-line), 10hp, 60 Hz induction machine. The machine is at standstill state with no load torque applied. Nominal voltage will be applied at its stator. The machine will accelerate to reach a nominal speed. This process of acceleration is call “free acceleration”. The second example illustrates the consequence of DFIG stator voltage drop in rotor currents.

The dq0-axis model of the induction generator can be obtained by decomposing the voltage, current and flux linkage space-vectors into their corresponding d-, q- and 0-axis components. This is known as Park’s Transformation.

xdxqx0=23cosθcosθ-2π3cosθ-4π3-sinθ-sinθ-2π3-sinθ-4π3121212xaxbxc

The αβγ stationary reference frame is derived from dq0-axis rotating reference frame by putting θ = 0 and dθdt=ω=0. The transformation of three-phase variables in the stationary reference frame into the two-phase variables also in the stationary frame is often referred to as abc/αβγ transformation:

xαxβxγ=231-12-12032-3212   12   12xaxbxc

Similarly, the two-phase to three-phase transformation in the stationary reference frame, known as αβγ/abc transformation, can be performed by:

xaxbxc=1  0  12-123212-12-3212xαxβxγ

Example 1: Free Acceleration

A simulation complex vector-based model was built in Matlab/Simulink to demonstrate the dynamics of free acceleration of an induction machine. A complex vector was treated as two real variables with the q-axis is leading the d-axis by 90°. A complex vector can be expressed as:

f=fq-jfd

Since zero-sequence currents do not introduce magnetic field, the zero-sequence circuits of stator and rotor are decoupled. All variables are in per unit.

Induction Machine dq0-axis Reference Frame Model Equations

- Voltage Equations:

vqsvdsv0svqrvqrv0r=                  Rs+pωbXs   ωsωbXs0-ωsωbXsRs+pωbXs        000Rs+pωbXlspωbXm  ωsωbXs              0-ωsωbXm       pωbXm              00        0                    0pωbXm           ωs-ωrωbXm               0-ωs-ωrωbXm  pωbXm0000Rr+pωbXrωs-ωrωbXr0-ωs-ωrωbXrRr+pωbXr000Rr+pωbXlriqsidsi0siqridri0r

- Current Equations

piqspidspi0spiqrpidrpi0r=Bvqsvdsv0svqrvqrv0r+Aiqsidsi0siqridri0r

where

B=    1ωbXs 0001ωbXs000    1ωbXls1ωbXm  0       00       1ωbXm 00       0     01ωbXm      0               00 1ωbXm0000    1ωbXr  0001ωbXr0001ωbXlr-1

A=-BRsωsωbXs    0           -ωsωbXs              Rs     000     Rs0  ωsωbXs      0             -ωsωbXm                   0 00  0  0      0ωs-ωrωbXm0     -ωs-ωrωbXm00          000             Rr         ωs-ωrωbXr0         -ωs-ωrωbXr           Rr0           0          0Rr

A=-BRsωsωbXs    0-ωsωbXs   Rs     000     Rs0  ωsωbXs0 -ωsωbXm0 00  0  00ωsωbXm0-ωsωbXm00  000   RrωsωbXr0    -ωsωbXrRr0           00Rr+00    0             0              0     000     00       0 0                 0                       0 00     0  0      0ωrωbXm0     -ωrωbXm00          000          0         ωrωbXr0         -ωrωbXr           00           0          00

- Motion and Torque Equations

ωrωb=12HS(Te-Tm)

Te=Xm(iqsidr-idsiqr)

- Arbitrary Reference Frame d-, q- and 0-axis circuits for 3-phase Induction Machine

SCIG Machine Constants

- Rated Line-Line Voltage

Vrated,LL=220 V(rms)

- Number of Poles

P=6

- Rated Stator Frequency

fe=60 Hz

- Stator Winding Resistance

Rs=0.0453 p.u.

- Rotor Winding Resistance

Rr=0.0222 p.u.

- Stator Leakage Reactance

Xls=0.0775 p.u.

- Rotor Leakage Reactance

Xlr=0.0322 p.u.

- Magnetizing Reactance

Xm=2.042 p.u.

Xs=Xls+Xm=0.0775+2.042mH=2.1195 p.u.

Xr=Xlr+Xm=0.0322+2.042=2.0742 p.u.

- Inertia Constant

H=0.5 s

- Base Speed

ωb=2πfe=376.9911184307752 rad/s

- Synchronous Speed

ωs=2P2πfe=125.6637061435917 rad/s

Initial Conditions (t = 0-)

In this case, the IG model in the synchronous reference frame should be used, which was realized by setting the speed of the arbitrary reference frame to zero (w = ws). The dq-axis rotor voltages are set to zero for simulation of squirrel-cage induction generators.

- The reference frame is rotating at synchronous speed

ω=ωs

- Electrical Frequency

fe=60 Hz

- Rotor Speed

ωr=0 rad/s

- Stator Voltages

vds=0 p.u.

vqs=1 p.u.

- Rotor voltages are zero

vdr=vqr=0 p.u.

- Stator and Rotor Currents

idr=iqr=idr=iqr=0 p.u.

- Electromagnetic Torque is zero

Te=Xmiqsidr-idsiqr=0

- The rotor is not loaded

Tm=0

dωrdt=0

Simulink Model

The input variables of the model include the dq-axis stator voltages vds and vqs, rotor voltages vdr and vqr, the mechanical torque Tm. The output variables are dq-axis stator currents, ids and iqs, dq-axis rotor currents, idr and iqr, the electromagnetic torque Te, and the rotor speed wr of the generator.

- Block diagram for dynamic simulation of SCIG in free acceleration.

- Block diagram for dynamic simulation of an induction generator in the synchronous reference frame

- WECSConstants.m

Results

- Currents (iqs, ids, iqr, idr)

- Electromagnetic Torque

- Rotor Speed (wr/wb)

During the system transients, a high inrush current flows into the induction generator. As a rotating magnetic field is being built and generator core is being magnetized by the stator current, an electromagnetic torque Te is produced. Since the generator operates below synchronous speed in motoring mode, it produces a positive torque that accelerates the turbine. The generator finally reaches the synchronous speed of 376.99 rpm (1 pu) at t = 0.6 sec, at which it enters the steady-state operation with Te= Tm = 0. The direct connection of the generator to the grid during the system start-up causes excessive inrush currents with peak values of 7.6 per unit (pu), high electromagnetic torque (3.75 pu, peak), as well as high torque oscillations.

Example 2: DFIG Stator Voltage Drop to zero

SCIG Machine Constants

- Rated Line-Line Voltage

Vrated,LL=380 V(rms)

- Number of Poles

P=4

- Rated Stator Frequency

fe=50 Hz

- Stator Winding Resistance

Rs=1.2

- Stator Leakage Inductance

Lls=0.0022 H

- Magnetizing Inductance

Lm=0.127 H

Initial Conditions (t = 0-)

In this case, the IG model in the synchronous reference frame should be used, which was realized by setting the speed of the arbitrary reference frame to zero (w = ws).

- The reference frame is rotating at synchronous speed

ω=ωs

- Electrical Frequency

fe=50 Hz

- Rotor Speed

ωr=0 rad/s

- Stator Voltages

vds=1 p.u.

vqs=1 p.u.

- Rotor voltages are zero

vdr=vqr=1 p.u.

- Stator and Rotor Currents

idr=iqr=idr=iqr=0 p.u.

- Electromagnetic Torque is zero

Te=Xmiqsidr-idsiqr=0

- The rotor is loaded

Tm=1

Simulink Model

The input variables of the model include the dq-axis stator voltages vds and vqs, rotor voltages vdr and vqr, the mechanical torque Tm. The output variables are dq-axis stator currents, ids and iqs, dq-axis rotor currents, idr and iqr, the electromagnetic torque Te, and the rotor speed wr of the generator.

- Block diagram for dynamic simulation of SCIG for stator voltage drop.

- WECSConstants.m

Results

- Stator Voltages (vas, vbs, vcs)

- Stator Currents (ias, ibs, ics)

- Rotor Currents

The Stator voltage drop of the generator causes decay in stator currents. It however, causes excessive rotor currents and voltages.