## Slide 1: Power System Restructuring
Courtesy of:
Dr Kashif Imran, NUST, Islamabad

## Slide 2: How Power System is Organized?
Vertically Integrated Utility
Consumers had no choice but to buy from a local utility
The utility owned generation and transmission
Sometimes distribution too
It was responsible for
  Overall operation
  Security of supply
  Planning of new generation capacity and transmission

## Slide 3: Why Competition?
What do we mean by competition?
  Giving customers a choice of where to buy and at what price
  Letting generators compete to sell their energy by offering it at a competitive price
Why competition?
  To improve efficiency
    Monopolies could be inefficient - high electricity prices
  Encourage new technologies
    New opportunities for investment

## Slide 4: Electricity as a Commodity
What is a commodity?
Is electricity the same as other commodities?
  Needs to instantaneously meet demand and supply
  No means to effectively store energy
  Transmission being a natural monopoly
  Severe limitations in the ability to control the flow of electricity

## Slide 5: Some Important Issues
Electricity is not the same as other commodities
  Effects of the Kirchhoff’s Law
  Effects of location and network capacity
  Effects of demand variation
  Effects of uncertainty and security of supply

## Slide 6: Kirchhoff’s Law, Location and Transmission Capacity

## Slide 7: Demand Variation
Load is not constant at all times
Its shows daily, weekly and seasonal variations

## Slide 8: Issue of Uncertainty
Why is it important to correctly forecast load demand and generation availability
  Instantaneous match between load and generation
  Intermittent nature of wind and solar
  Limited means to store energy
How do we cover the mismatch
  Surplus generation – load following
  Excessive load – load shedding
What about unpredictable imbalances like generation and line outages
Security of supply becomes a concern
Reserve generation becomes a necessity

## Slide 9: Structural Changes
Corporatization
  Public owned organizations behave like investor owned company (not responsible for employment creation)
Unbundling (Vertical de-integration)
  Separation of transmission from generation and distribution
Fragmentation (Horizontal de-integration)
  Partitioning of generation and distribution sectors to increase market participants

## Slide 10: Structural Changes (2)
Competition
  Traditional links between customers and utilities are removed
  Generators compete to sell at the market
  Customers can choose where and from whom to buy
Privatization
  Government owned companies are sold to private investors, e.g. K-Electric
  Generation facilities built by private investors, e.g. Independent Power Producers (IPPs)
  New arrangements for transmission lines

## Slide 11: Results of Structural Changes
System Operator
  National Transmission and Dispatch Company (NTDC) Limited
Market Operator
  Central Power Purchasing Agency Guarantee (CPPAG) Limited
Regulator
  National Electric Power Regulatory Authority (NEPRA)
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 12: Results of Structural Changes (2)
Generation Companies
  Four thermal generation companies (GENCOs)
  Numerous independent power plants (IPPs)
  Hydro power plants retained by WAPDA
Distribution Companies
  Nine regional distribution companies (DISCOs)
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 13: Single Buyer Model
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 14: Single Buyer Plus Model
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 15: Wholesale Competition Model
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition
Competition only comes about if generation capacity exceeds load demand

## Slide 16: Retail Competition Model
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 17: Generation Side
In Pakistan, mainly consists of GENCOs, IPPs and Hydro that sell electricity to monopoly single buyer NTDC
  GENCOs
    Owned by government, earmarked for privatization
  IPPs
    open to private investment with regulated profit
    Hold sovereign guarantees for long term power purchase agreements
    Energy charges (Rs/kWh), Capacity charges (Rs/kW/hour)
  Hydro
    Owned by government (WAPDA), not for privatization
    Run as least cost base generation subject to irrigation constraints
In competitive environment
  GENCOs
    Aim to maximize profit by selling electricity and other services
Notes: This is the first part to be liberalised

## Slide 18: Transmission
In Pakistani scenario
  National Transmission and Dispatch Company (NTDC) Limited
    Planning and operations of transmission network
    Reliable and economic power system operation
  Central Power Purchasing Agency Guarantee (CPPAG) Limited
    Solely responsible for implementing and administering the “Single Buyer Plus” market mechanism.
    Currently handling cash flows from distribution to generation
In competitive environment
  A public body, called Independent System Operator (ISO), acts as both Transmission Operator and System Operator (North America)
  Transmission system operator is publicly owned and power exchange is privately owned (Europe)
Notes: This is the first part to be liberalised

## Slide 19: Distribution Side
In many electricity markets this is still a regulated monopoly (DISCO)
  Sells electricity to captive consumers in a designated geographical area
  Owns and operates distribution network
In competitive environment
  Distribution network operator
    Network functions (operations and planning) - still regulated
  Supplier
    Buys electrical energy on wholesale market
    Supplies energy to consumers that are not necessarily connected to the same part of the distribution network
Notes: This is the last part to be deregulated

## Slide 20: Consumers
Large
  Often actively participate in market
  May buy from wholesale market or by bilateral trading
Small
  Has to rely on buying from supplier
  May be active participant, using smart meters and responding to real time pricing

## Slide 21: Regulator
Government body – defines and approves market models and rules
Sets prices for products and services provided by monopolies
Ensures fair open access to transmission
Addresses problems of inefficiencies
Regulates security requirements and quality of service
Investigates market participants behaviours

## Slide 22: Markets
Basic Concepts and Organization
Dr Kashif Imran
Adopted from lecture slides of Dr Ivana Kockar at University of Strathclyde

## Slide 23: Markets
What is a market?
  A place where buyers and sellers meet to exchange their goods
  So buyers and sellers are market participants
It offers opportunity for buyers and sellers to
  Compare prices
  Estimate demands
  Estimate supply
  Decide on how much to buy/sell and what price
To investigate how markets function we need to develop models that describe behaviour of market participants
There are different ways to trade and different ways to organize trading

## Slide 24: How much do I value Mangoes?

## Slide 25: Modelling Consumers
Consumers behaviour is modelled by the demand curve – aggregation of the individual demands of all consumers

## Slide 26: Modelling Consumers
Consumers spend until the price is equal to their marginal utility
What does that mean?
  If you produce pickle, you will buy only when a price is sufficiently low so that after selling it you have earned some profit
  ….. or if it is less expensive than buying pickle at a store ….

## Slide 27: Elasticity of Demand
What is elasticity
  Relative change in demand w.r.t. relative change in price
Slope is an indication of the elasticity of demand
High elasticity
  Non essential good
  Easy substitution
Low elasticity
  Essential good
  No substitutes
  Electrical energy has a very low elasticity in the short term

## Slide 28: Supply Side
How many widgets shall I produce
  Goal: make a profit on each
  Produce one more widget if and only if the cost of producing it is less than the market price
Need to know the cost of producing the next widget
Considers only the variable costs
  Like fuel cost
Ignores the fixed costs
  Investment in production plants and machines

## Slide 29: How much does the next one cost?
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 30: How much does the next one cost?
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 31: How much does the next one cost?
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 32: How much does the next one cost?
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 33: How much does the next one cost?
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 34: Modelling Suppliers
Supply curve – aggregation of the individual supply curves of all producers
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 35: Market equilibrium
The point where supply equals demand
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 36: Market equilibrium
Sellers have no incentive to sell for less
Buyers have no incentive to buy for more
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 37: Consumers Surplus
Marginal Pricing Approach
Buy 5 mangoes at 10p
Total cost = 50p
I am getting mangoes at a price lower than I would have been ready to pay
Surplus = 12.5p
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 38: Economic Profit of Suppliers
Cost includes only the variable cost of production
Economic profit covers both fixed costs and shareholders returns
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 39: Social or Global welfare
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 40: Market Equilibrium and Social Welfare
Artificially high price:
  Larger supplier profit
  Lower consumer surplus
  Smaller social welfare
Market Equilibrium
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 41: Market Equilibrium and Social Welfare
Artificially low price:
  Lower supplier profit
  Larger consumer surplus
  Smaller social welfare
Market Equilibrium
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 42: Back to our main assumptions …..
In much of economics we use a framework built on the following two principles
  The optimization principle – people try to choose the best patterns of consumption that they can afford; social welfare optimization
  The equilibrium principle – prices adjust until the amount that people demand of something is equal to the amount that is supplied

## Slide 43: Perfectly Competitive Market
In a perfectly competitive market
Each supplier and consumer is sufficiently small so that it cannot affect market price
Basically, they are all price takers

## Slide 44: Imperfect Market
Market Power
  Some market participants can affect price
  Modelled by
    Cournot model
      Firms decide on how much quantity they produce
    Bertrand model
      Firms decide the price at which they sell their produce
Monopoly
  Not enough market participants on one side

## Slide 45: Market Structure
Monopoly
  Monopolist sets the price at will
  Must be regulated
Perfect competition
  No participant is large enough to affect the price
  All participants act as ‘price takers’
Oligopoly
  Some participants are large enough to affect the price
  Strategic bidders have market power
  Others are price takers

## Slide 46: Organization of Markets
Depending on when trades are arranged:
  Arranged some time before they actually take place
    Direct bilateral agreements between sellers and buyers
    Forward trading through exchanges
  Instantaneous trading – spot market
    Unconditional and immediate delivery
    Price determined at the equilibrium point
    Short term market
    Volatile prices mean it’s a last resort

## Slide 47: Organization of Markets
Depending on how trading is administered:
  Centralized
    Sellers submit offers to sell
    Buyers submit bids to buy
    Market clearing is done by a market operator that determines prices and quantities
  Decentralized
    Bilateral trades
    Buyers and sellers engage in bilateral negotiations
    A seller-buyer pair may or may not agree on trading price and quantity

## Slide 48: Centralized Auction
Producers enter their offers: quantity and price
  Offers are stacked up to construct the supply curve
Consumers enter their bids: quantity and price
  Bids are stacked up to construct the demand curve
Intersection determines the market equilibrium
  Market clearing price
  Transacted quantity

## Slide 49: Centralized Auction
Everything is sold at the market clearing price
Price is set by the last unit sold
Marginal producer
  Sells the last unit
  Gets exactly its offered price
  Still earns profit because offered price is greater than true cost
Infra-marginal producers
  Get paid more than offered price
  Collect economic profit
Extra-marginal producers
  Sell nothing
Notes: Marginal cost of an additional output unit is the cost of the additional input needed to produce that output

## Slide 50: Bilateral Trades
Achieved through
  Online Bulletin-boards
  Brokers
  Direct-search
Shopping around for portfolio optimization
Interaction for negotiation before sales
Direct or brokered deals result in price and quantity agreements known in advance
Equilibrium price is not defined centrally but is “discovered” through efficient market and remains confidential between parties
Agreed quantity is conveyed to system operator and is subject to transmission availability
Notes: Marginal cost of an additional output unit is the cost of the additional input needed to produce that output

## Slide 51: Reading ….
Chapter 2 in Kirschen and Strbac book
Notes: Marginal cost of an additional output unit is the cost of the additional input needed to produce that output

## Slide 52: Electricity Markets
How different market designs work?
Dr Kashif Imran
Adopted from lecture slides of Dr Ivana Kockar at University of Strathclyde

## Slide 53: Reminder
Based on when the trading occurs there are
  Forward/futures trading
  Spot trading
Based on how trading quantities and prices are determined, there are
  Centralized trading
  Bilateral trading

## Slide 54: Spot market for electricity
This is managed market run by the central system operator
  Matches demand and supply
  Determines a spot price
  Provides ancillary services
  Maintains security of the system

## Slide 55: Spot market for electricity

## Slide 56: Market clearing – simple case

## Slide 57: A Simple System Model
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 58: Simple Market Clearing: behind the scenes
What is the goal of the market clearing
  Determine generation output
  Determine the price of electricity
What is considered
  Generators offers
    Including generators limits
  Demand levels
    Including demand elasticity and their bids
What is omitted
  Network
    Losses
    Line constraints
    Voltage limits and security
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 59: Market clearing “engine”
Power system analysis tool that looks how to distribute load among available generators in the most economic way
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 60: Market clearing “engine”
Generator could be linear, quadratic …. We retain the same shape of the function as for true costs
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 61: Economic Dispatch
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 62: Economic Dispatch
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 63: Meaning of Lagrange Multiplier
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 64: Economic Dispatch with generation limits
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 65: Optimality Conditions
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 66: Optimal Power Flow - OPF
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 67: Optimal Power Flow (2)
What are the parameters
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 68: Optimal Power Flow (3)
What are the variables
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 69: Market clearing – complex case

## Slide 70: Market clearing – complex case
How to solve this optimization problem
  Lagrange function
A bit of simplification
  Infinite VAR sources V = 1 p.u.

## Slide 71: Lagrange function
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 72: Optimality conditions
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 73: Optimality conditions
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 74: Lagrange Function
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 75: Meaning of Lagrange Multiplier
Cost associated with maintaining each constraint
Multipliers associated with power balance equations tell us how much it costs to maintain power balance i.e. how much it will cost to increase demand at a given bus

## Slide 76: Pricing Mechanisms
Marginal vs. Pay as Bid
Dr Kashif Imran
Adopted from lecture slides of Dr Ivana Kockar at University of Strathclyde

## Slide 77: Pricing Mechanisms
An important component of electricity market design
Defines tariffs for electricity as well as for the various ancillary services
Central role in the market
  As it sends monetary signals on the value of the resources
  Sends signals that strongly influence future investments in the system infrastructure
  The price of electricity must me competitive
A well designed pricing mechanism has to address
  The problem of short term operation
  Long-run efficient market operation
Market design, with its pricing schemes and rules, needs to tackle market imperfections
  Market power by generators
  Congestion of the transmission network

## Slide 78: Pricing Mechanisms
Two main pricing mechanisms have been applied in electricity systems
Market Prices
  Forward looking, based on marginal costs
  Don’t reflect sunk costs
  Approach based on marginal pricing theory
    Price equals the short run marginal cost
  Non-uniform pay as bid pricing
    Where each participant is paid according to its submitted offer or bid
Regulated Prices
  Based on average historic costs
  Only reflect marginal cost to the extent they impact the average
  Fixed costs include depreciation of original investment & maintenance capital, fixed price contracts, financing costs etc.

## Slide 79: Marginal Pricing
There are two main variations of marginal pricing
  System marginal pricing
  Locational marginal pricing

## Slide 80: Marginal Pricing - SMP
The price is determined by a marginal generator

## Slide 81: Marginal Pricing - SMP
Under System (Spot) Marginal Pricing
Generator offers are stacked in ascending merit order
Load bids are stacked in descending merit order
The clearing price is determined by the intersection of supply and demand curves
SMP is normally determined on hourly basis
SMP is uniformly applied to all generators, regardless of their location or offer price
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 82: Marginal Pricing - SMP
SMP does not explicitly take into consideration transmission constraints
Various rules have been developed to manage transmission congestion problem
  The initial version of England and Wales (E&W) pool market first calculated the merit order without considering transmission constraints
  The dispatch was then revised under congested operation using heuristics
    Redispatched generators were compensated by extra payments charged to customers on pro-rata basis
  Norpool market of Scandanavian countries splits into zones, in case of congestion
    Supply is provided by separate generator offers
    Nordpool switches to a simplified Locational Marginal Pricing
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 83: Marginal Pricing - SMP
Marginal Pricing method does not explicitly account for ancillary services
  Separate charges devised to cover the costs of providing such services
    Pro-rata charges - in the form of uplifts
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 84: Marginal Pricing - LMP
Locational Marginal Pricing (LMP) is more complex.
The optimization is subject to various system constraints
  Generation limits
  Line capacities
  Voltage limits
This dispatch also includes the supply of losses and other ancillary services necessary to support system operation
In practice, it may be tricky to compute because OPF is a difficult problem for large systems
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 85: Pay-as-Bid Pricing
Non-uniform pricing
Each generator is paid according to its offer
No nodal or system price
How to allocate payments to customers
  Pro-rata
  Aumann-Shapley Approach
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 86: Regulated Pricing
To be added ….
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 87: Some Problems in Electricity Markets
Price Volatility
and
Transmission Congestion
Dr Kashif Imran
Adopted from lecture slides of Dr Ivana Kockar at University of Strathclyde

## Slide 88
Price Volatility

## Slide 89: What is Price Volatility?

## Slide 90: Why is the spot price for electricity so volatile?

## Slide 91: Demand Curves for Electricity

## Slide 92: Supply Curve for Electricity

## Slide 93: Supply and Demand for Electricity
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 94: Supply and demand for electricity
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 95: Supply and demand for electricity
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 96
Transmission Congestion

## Slide 97: Why do we care about congestion on transmission networks?
When congestion occurs, cost of energy increases
  One or more transmission lines operate at full capacity
  Energy from cheaper generators cannot be transmitted to loads
  More expensive local generators may have to be dispatched
  Transmission cost also goes up
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 98: Uncongested Case
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 99: Congested Case
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 100: What are LMPs used for?
Locational Marginal Price
= energy component + loss component
+ market congestion component (MCC)
For Centralized Trades
  Generators are paid this price for generated power
  Loads pay this price for energy consumed, transmission losses incurred and network usage
In some markets, bilateral trades are charged locational price differences to cover network usage and losses
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 101: Financial Transmission Rights (US)
What are they for?
  Large differences of LMPs between two nodes can cause a problem in some types of electricity markets
  Why?
    Large payments for using a network, because it is based on nodal price differences
    Relatively unpredictable
In these markets, there is a possibility to hedge against transmission payments
  Buying a right to collect a revenue from transmission payments for a specified amount of power transfer between specified nodes of injection and withdrawal
  These are called Financial Transmission Rights
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 102: FTR Valuation Example
Perfect hedge as exposure to congestion charge is fully offset
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition

## Slide 103: Other Transmission Rights/Pricing
Across a national border
  Physical transmission rights on limited interconnector capacities between EU countries
  Transmission is explicitly auctioned by coordinated effort of network operators on both sides
By comparison, within a country
  Transmission is implicitly auctioned through energy market clearing by market operator based on transmission capability provided by network operator
Whereas, in PK
  Discos bear Transfer Price as follows
  Transfer Price = Capacity Transfer Charge + Energy Transfer Charge + Use of System Charges Fixed + Use of System Charges Variable + GST
Notes: Open access to Transmission (distribution) network is essential to ensure wholesale (retail) competition