## Slide 1: Control of Doubly Fed Induction Generator during Stator Voltage Imbalance
M. Shamaas
2018-MS-EE-4

## Slide 2: Overview
Stator Voltage Imbalance causes Positive Sequence Voltage/ Current Components and Negative Sequence Voltage/ Current Components to be disturbed. This causes unwanted Torque Pulsations.
GSC will compensate the negative sequence currents required in the network during the voltage unbalance. It also controls Power delivered to grid by GSC and DC Link Voltage.
RSC will eliminate negative sequence rotor currents, negative sequence stator currents and torque pulsation. It also controls Active and Reactive Power delivered by stator.

## Slide 3: Negative Sequence dq- Components
Negative-sequence components rotate at - in dq- synchronously rotating reference frame. They are extracted through qd+/qd− transformation:

## Slide 4: dq+/dq- Transformation

## Slide 5: Stator Phase a Voltage Collapses to zero for t=10s to t=15s

## Slide 6: Complete DFIG Model

## Slide 7: Complete DFIG Simulation Model

## Slide 8: Induction Machine dq0-axis Model

## Slide 9: Induction Machine dq0-axis Model Equations
Voltage and Current Equations
Motion and Torque Equations

## Slide 10: Induction Machine dq0-axis Model Equations
DFIG control relies on stator flux-oriented reference frame
=0

## Slide 11: DFIG Machine Constants
Rated Power
Rated Line-Line Voltage
Number of Pole Pairs
Rated Stator Frequency
Stator Winding Resistance
Rotor Winding Resistance
Stator Leakage Reactance
Rotor Leakage Reactance
Magnetizing Reactance
Inertia Constant
Base Speed
Synchronous Speed

## Slide 12: Induction Machine Model

## Slide 13: Rotor Side Converter

## Slide 14: Rotor Side Converter

## Slide 15: Rotor Side Converter Positive Sequence Controller
The output real and reactive power from the stator circuit can be controlled via iqr and idr respectively.
The rotor voltages are used to design Positive Sequence RSC controller.

## Slide 16: Positive Sequence Controller in RSC

## Slide 17: Positive Sequence RSC Control of Stator Power Qs

## Slide 18: Positive Sequence RSC Control of Stator Power Ps

## Slide 19: DFIG Rotor Side Converter Negative Sequence Control
For a given negative-sequence stator voltage, a negative sequence rotor voltage generated by the RSC has the potential to eliminate the negative sequence rotor current, the negative sequence stator current or the torque pulsation.
RSC must make and by controlling and .

## Slide 20: Negative Sequence Controller in RSC

## Slide 21: Negative Sequence Compensation via RSC

## Slide 22: Torque Response

## Slide 23: Rotor Currents

## Slide 24: Rotor Voltages

## Slide 25: Grid Side Converter

## Slide 26: Grid Side Converter

## Slide 27: DFIG Grid Side Converter Positive Sequence Control
The GSC is used for real power and reactive power control
GSC control takes care of the DC-link voltage as well
The GSC output voltage, GSC current, and the coupling point voltage are used to design controller.

## Slide 28: Positive Sequence Controller in GSC

## Slide 29: Positive Sequence GSC Control of GSC Power Q_GSC

## Slide 30: Positive Sequence GSC Control of DC Link Voltage VDC

## Slide 31: DFIG Grid Side Converter Negative Sequence Control
For negative sequence compensation via GSC, the current controllers of the GSC will measure the network currents, extract the negative sequence components and generate the required negative sequence currents from the GSC for compensation.
The reference values of the negative sequence currents come from the measurements of the currents to the grid.

## Slide 32: Negative Sequence Controller in GSC

## Slide 33: Negative Sequence Compensation via GSC

## Slide 34: GSC Currents

## Slide 35: Stator Currents

## Slide 36: Grid Currents

## Slide 37: Summary
Due to unbalanced stator voltage conditions, negative-sequence components in stator currents induce a high frequency component (ωe+ωm) or (2−s)ωe in rotor currents and pulsations at 2ωe frequency in electromagnetic torques.
GSC compensates the negative sequence currents required in the network during any unbalanced operation. It also controls Power delivered to grid by GSC and DC Link Voltage.
RSC has the potential to eliminate negative sequence rotor currents, negative sequence stator currents or torque pulsation. It also controls Active and Reactive Power delivered by stator.

## Slide 38: References
L. Fan and Z. Miao, Modeling and Analysis of Doubly Fed Induction Generator Wind Energy Systems, Elsevier Ltd., 2015, 1-78.
R. Pena, J. Clare, G. Asher, Doubly fed induction generator using back-to-back pwm converters and its application to variable-speed wind-energy generation, IEEE Proc. Electr. Power Appl. 143(3), 1996, 231-241.
R. Pena, R. Cardenas, E. Escobar, Control system for unbalanced operation of stand-alone doubly fed induction generators, IEEE Trans. Energy Convers. 22(2), 2007, 544-545.